## ColiReportHuehueD
|  |  | Coliform test log | [8 empty] | Purp |  | Pink |  | Blu/grn |  | White |  | Spread |  | 1 | 1
E coli/ | G coli/ | Ent/ | [9 empty] | F coli |  | G coli |  | Enterobacteriaceae |  |  |  | W | P | 2 | 2
[8 empty] | Time |  | Count | Count |  | factor |  | factor | Sur | factor | Sur | factor | Sur | Sub | 3 | 3
100mL | 100mL | 100mL | Code | Location | mL | Date | Time | plated | temp | date | time | 1&2 |  | 3&4 |  | 5&6 |  | 7 |  | 9 | 10 | 4 | 4
Rain
0 | 4120 | 25920 | H1 | Rain, end of Bea's copper downspout | 5 | 1999-07-01 | 8:00 | 9:01 | 82 | 1999-07-03 | 9:00 | 0 | 1 | 103 | 2 | 0 | 1 | 36 | 36 |  | 3 | 5 | 8
|  |  |  | at rain water cistern filter, during light rain after 4 day rain, second of season. | [17 empty] | 6 | 9
|  |  |  | Water light straw colored, seemed probably bacteriologically clean but it didn't look like it would taste good. | [17 empty] | 7 | 10
0 | 800 | 5200 | H8 | Rain- Lavadero tap | 1 | 1999-07-02 | 15:21 |  |  | 1999-07-04 | 12:30 | 0 | 1 | 8 | 1 | 0 | 1 | 52 | 1 |  |  | 22 | 5
|  |  |  | almost all last year's water, plus muddy water from roof repair. | [7 empty] | ±% |  | ±% | 15 | ±% |  | ±% |  | ±% |  | 23 | 6
|  |  |  | Water looked very muddy. | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 24 | 7
20 | 12260 | 14640 | H5 | Rain-Tinaco East Roof | 5 | 1999-07-02 | 15:20 |  | 78 | 1999-07-04 | 12:30 | 1 | 1 | 17 | 36 | 3 | 1 | 20 | 36 | 9 | 9 | 16 | 11
|  |  |  | first flush, 3 min rain (also rained yesterday) | [7 empty] | ±% | 0 | ±% | 30 | ±% |  | ±% | 15 | ±% |  | 17 | 12
Cascada-flows originating at the main Huehuecoyotl waterfall
0 | 580 | 10800 | H12 | Cascada-Outlet drain of Tinaco W | 5 | 1999-07-02 | 21:38 |  |  | 1999-07-04 | 12:30 | 0 | 1 | 29 | 1 | 0 | 1 | 15 | 36 |  | 9 | 33 | 22
|  |  |  | last of last year's water | [5 empty] | Not clear |  | ±% |  | ±% |  | ±% |  | ±% | 5 | ±% | 20 | 34 | 23
0 | 100 | 2520 | H11 | Cascada-Llave, kitchen of Svante | 5 | 1999-07-02 | 21:37 |  |  | 1999-07-06 | 18:30 | 0 | 1 | 5 | 1 |  | 1 | 62 | 2 | 2 |  | 31 | 13
|  |  |  | last years' water |  |  |  | 7/4 13:00 nothing to count |  |  |  | ±% |  | ±% |  | ±% |  | ±% |  | ±% |  | 32 | 14
0 | 280 | 3280 | H4 | Cascada- Tinaco East inside | 5 | 1999-07-02 | 15:10 |  |  | 1999-07-04 | 12:30 | 0 | 1 | 14 | 1 | 1 | 1 | 40 | 4 | 3 |  | 13 | 15
|  |  |  | Nearly full, nearly all last of last year's water, | [7 empty] | ±% |  | ±% |  | ±% |  | ±% | 15 | ±% |  | 14 | 16
|  |  |  | 2m visibility...I'd left this dirty but it had been filled a few times | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 15 | 17
0 | 520 | 20160 | H6 | Cascada-Tinaco East to Bea kitchen tap (cold) | 5 | 1999-07-02 | 15:11 |  |  | 1999-07-04 | 12:30 | 0 | 1 | 26 | 1 | 0 | 1 | 28 | 36 |  |  | 18 | 20
|  |  |  | light straw colored | [7 empty] | ±% |  | ±% | 5 | ±% |  | ±% | 5 | ±% |  | 19 | 21
0 | 433.3333 | 2466.6667 | H7 | Cascada-Tinaco East to Bea hot kitchen tap | 3 | 1999-07-02 | 15:14 |  |  | 1999-07-06 | 18:30 | 0 | 1 | 13 | 1 | 1 | 1 | 35 | 2 | 3 | 2 | 20 | 18
[8 empty] | 7/4/1999 13:00 nothing to count |  |  |  | ±% |  | ±% |  | ±% |  | ±% |  | ±% |  | 21 | 19
250 | 50650 | 27350 | H3 | Cascada-Man-made pool at bottom of waterfall | 2 | 1999-07-01 | 8:35 | 9:07 | 82 | 1999-07-03 | 9:00 | 5 | 1 | 28 | 36 | 7 | 1 | 15 | 36 |  |  | 10 | 30
|  |  |  | 1m deep h2o, mix of last week's rain, 50 cm vis, dark tea colored... | [7 empty] | ±% |  | 20±% |  | ±% |  | ±% | 20 | ±% |  | 11 | 31
|  |  |  | little mud, a fair bit of plant matter on bottom. | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 12 | 32
60 | 8700 | 36120 | H2 | Cascada-light flow | 5 | 1999-07-01 | 8:30 | 9:06 | 82 | 1999-07-03 | 9:00 | 3 | 1 | 12 | 36 | 3 | 1 | 50 | 36 | 3 |  | 8 | 28
|  |  |  | First waterfall 7/24, this was the last falling water NOT diverted. | [9 empty] | ±15% |  |  |  | ±30% |  | ±20% |  | 9 | 29
0 | 3440 | 8880 | H13 | Cascada-slow | 5 | 1999-07-05 | 14:42 | 16:20 |  |  |  | 0 | 1 | 43 | 4 | 6 | 1 | 12 | 36 | 6 |  | 35 | 24
|  |  |  | 20 lpm? | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±% |  | 36 | 25
0 | 172800 | 1000 | H14 | Cascada-fast | 5 | 1999-07-06 | 17:40 | 18:20 |  |  |  | 0 | 1 | 60 | 144 | 25 | 2 |  | 1 |  |  | 37 | 26
|  |  |  | 200 lpm? soon after downpour | [7 empty] | ±% |  | ±% | 30 | ±% | 10 | ±% |  | ±% |  | 38 | 27
Wetland (blackwater treatment)
16000 | 2096000 | 3672000 | H10 | Constructed wetland inlet | 0.0125 | 1999-07-02 | 17:00 |  |  | 1999-07-04 | 12:30 | 2 | 1 | 65 | 4 | 0 | 1 | 57 | 8 | 3 |  | 28 | 36
|  |  |  | against wall near inlet, water 20 cm down, sample from 25 cm, | [7 empty] | ±1 |  | ±% | 10 | ±% |  | ±% | 30 | ±% |  | 29 | 37
|  |  |  | Cloudy, no odor | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 30 | 38
100 | 24100 | 76900 | H9 | Constructed wetland outlet | 1 | 1999-07-02 | 17:00 |  | 70 | 1999-07-04 | 12:30 | 1 | 1 | 30 | 8 | 0 | 1 | 96 | 8 | 1 |  | 25 | 33
|  |  |  | against wall near outlet, water 20 cm down, sample from surface | [7 empty] | ±% |  | ±% | 20 | ±% |  | ±% | 20 | ±% |  | 26 | 34
|  |  |  | Looked slightly cloudy, no odor | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 27 | 35
Octotitlan springs-water supply for nearby village
40 | 7400 | 5680 | H15 | Chipuilote-spring | 5 | 1999-07-14 | 19:00 |  | 70 | 1999-07-17 |  | 2 | 1 | 46 | 8 | 4 | 1 | 35 | 8 |  |  | 39 | 42
|  |  |  | Drinking water spring-fed pool of Ocotitlan | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±% |  | 40 | 43
|  |  |  | Just before afternoon rain | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 41 | 44
20 | 2020 | 7420 | H16 | Chipuilote-seasonal creek | 5 | 1999-07-14 | 19:00 |  |  | 1999-07-17 |  | 1 | 1 | 25 | 4 | 1 | 1 | 46 | 8 | 2 |  | 42 | 39
|  |  |  | Leaf-filled, surface-stagnant pool from which villiage | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±% |  | 43 | 40
|  |  |  | cistern is filled by 2.5" hose about 1km long. Lots of Chloro bottles, supposedly for laundry, they say. | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 44 | 41
45
46
47
48