## PondCalculator
@ 2007 Oasis Design
Pond Calculator
A companion to Water Storage by Art Ludwig
Given diameter, depth and slope, of conic section shaped pond, gives volume, surface area, and amound of evaporation loss by minute, day and year.
Note: Make sure bottom radius is not negative
Fill in numbers in blue, read calculated values in black.
Parameter | Active calc | Past cacluations (copy & paste special/values only)
|  | Proposed temple pond | Proposed eco village pond | Existing EV pond (guess on diminsions)
Pond diameter at water surface (ft) | 100 | 207.8818 | 145.6632 | 100
Depth at center (ft) | 20 | 20 | 20 | 20
Slope (rise/run..0.5=recommended max) | 1 | 0.5 | 0.5 | 1
Summer evaporation per day (in) | 0.2 | 0.2 | 0.2 | 0.2
Average evaporation per year (in) | 39 | 39 | 39 | 39
Volume (gallons) | 799078.5264 | 3500000 | 1500000 | 799078.5264
Evaporation by summer minute (gal) | 0.67632 | 2.9227 | 1.435 | 0.67632
Evaporation by summer day (gal) | 973.896 | 4208.6772 | 2066.3887 | 973.896
Evaporation by year average (gal) | 189909.72 | 820692.0582 | 402945.8015 | 189909.72
Top radius (ft) | 50 | 103.9409 | 72.8316 | 50
Bottom radius (ft) | 30 | 63.9409 | 32.8316 | 30
Surface area (ft2) | 7854 | 33940.9453 | 16664.4252 | 7854
Volume (ft3) | 106814.4 | 467851.8915 | 200507.9535 | 106814.4